ANNEX II: TERMS OF REFERENCE

1.	BACKGROUND INFORMATION	2

1.1.	Partner country	2

1.2.	Contracting Authority	2

1.3.	Country background	2

1.4.	Current situation in the sector	2

1.5.	Related programmes and other donor activities	2

2.	OBJECTIVE, PURPOSE & EXPECTED RESULTS	2

2.1.	Overall objective	3

2.2.	Purpose	3

2.3.	Results to be achieved by the Contractor	3

3.	ASSUMPTIONS & RISKS	3

3.1.	Assumptions underlying the project	3

3.2.	Risks	3

4.	SCOPE OF THE WORK	3

4.1.	General	4

4.2.	Specific work	4

4.3.	Project management	6

5.	LOGISTICS AND TIMING	7

5.1.	Location	7

5.2.	Start date & Period of implementation of tasks	7

6.	REQUIREMENTS	7

6.1.	Staff	7

6.2.	Office accommodation	7

6.3.	Facilities to be provided by the Contractor	7

6.4.	Equipment	8

7.	REPORTS	8

7.1.	Reporting requirements	8

7.2.	Submission and approval of reports	8

8.	MONITORING AND EVALUATION	8

8.1.	Definition of indicators	8

8.2.	Special requirements	8

# BACKGROUND INFORMATION

## Partner country

The Former Yugoslav Republic of Macedonia.

## Contracting Authority

## Faculty of Electrical Engineering and Information Technologies of  Ss. Cyril and Methodius University in Skopje.

## Country background

FYROM is a candidate country for membership expecting commencement of membership negotiations. The next phase in the accession process is acquiring negotiation date for European Union membership.

The negotiation process of the Republic of Macedonia for EU membership will signify completion of the approximation process to the European Union, adoption of its benefits and values as well as complete adaptation of the Macedonian institutions towards functioning to that of the Union institutions. The negotiations will also signify establishing grounds and preparation for a successful functioning of the Republic of Macedonia as a Union Member State. In February 2008, the Council of Ministers of the European Union adopted the 2008 Accession Partnership of the Republic of Macedonia. The negotiations as a comprehensive dynamic undertaking require full preparation of the state authorities and institutions as well as of the structures established for coordination and conducting negotiations prior to the commencement of the negotiations themselves.

## Current situation in the sector

- The Balkan Med (BM) region is facing the challenge of sustaining and increasing the growth of PV systems that is endangered by several barriers and their unpredictable nature. This is especially important in the built environment as member states are developing plans to increase the number of Nearly Zero Energy Buildings (NZEB), which most probably employ PV’s, in order to reach their 2030 climate change targets.

- The project approach hasn’t been applied before in BM region. Most outputs are novel worldwide (e.g specialized tools) as well. A transnational approach is needed as the climate change problem faces no borders and a unified approach will multiply positive effects. Moreover, the region’s electrical grids are already interconnected with high interdependence and will be even more in the future.

- As the number of NZEBs increase, PV integration in the distribution grids of BM region will be very difficult, unless buildings become more grid-friendly and policies/regulations are suitably adapted.

- In the above context, the overall objective of project is to enhance the penetration of PV’s in built environment. This will be achieved by using storage, which will transform the building into a more predictable power source. With the high solar potential of the BM region and the decreasing cost of PV/storage systems, such a solution is becoming cost-efficient as well Project aims to change the way buildings with PV’s are treated (i.e. selling energy to grid) and instead conceptualize them as systems that must efficiently interact with grids. Also, it aims to alleviate the above barriers and pave the way for unobstructive NZEB development.

## Related programmes and other donor activities

N/A

# OBJECTIVE, PURPOSE & EXPECTED RESULTS

## Overall objective

The overall objective of the project of which this contract will be a part is as follows:

1) An innovative management scheme of PV + storage hybrid, making buildings grid-friendlier;

2) A generalized model capable to assess alternative policies related to implementation of such hybrids;

3) An online user-friendly tool able to provide a good first estimate of the profitability of such systems under a specified policy, targeting prospective investors and stakeholders;

4) An advanced tool able to evaluate multiple policy scenarios, targeting policy makers;

5) Set of joint regulation recommendations in the form of roadmap for BM region, targeting grid operators and relevant stakeholders/engineers;

6) Set of joint policy recommendations targeting mainly policy makers and interested stakeholders;

7) Organization and implementation of a project meeting , national workshop and an International scientific conference to present  the  results of the projects;

8) The project final data project will be published in an Open-access journal.

## Purpose

The successful Service provider will have responsibility for the installation and maintenance of measurement systems in the premises of 20 consumers in FYROM, in order to measure the consumed energy and establish the representative load curves. The cost also contains the supervision of the measurement systems during project lifetime and deinstallation of the systems after 3 years.

## Results to be achieved by the Contractor

The Contractor should successfully organize all detail listed services in section 4, according to the specific requirements detailed in the same section of this document and should submit the required report, described in section 7.

# ASSUMPTIONS & RISKS

## Assumptions underlying the project

- Clear understanding of the contract objectives and purposes by the Contractor;

- Full cooperation between the Contracting Authority and the Contractor in view to fulfil the tasks on time, with high quality and within the budget limitation.

## Risks

Potential risks to the successful implementation of the contract include:

- Lack of communication and logistical coordination between the Contractor and the Contracting Authority. In order to avoid this risk, the Contractor should show initiative and maintain continuous contact with the relevant representatives of the Contracting Authority.

- Insufficient quality of the services provided by the Contractor experts and suppliers. In order to avoid this risk the Contractor should use the most reliable and experienced staff/service providers on its disposal.

# SCOPE OF THE WORK

## General

### Description of the assignment

The aim of this contract is necessary services relates to the installation of measurement systems in the premises of 20 consumers in FYROM, in order to measure the consumed energy and establish the representative load curves to support the objectives of the project and deliverable D4.6.3. The cost also contains the supervision of the measurement systems during project lifetime and deinstallation of the systems after 3 years.

Geographical area to be covered

Skopje, FYROM.

### Target groups

- Expert staff involved in working with installation of measuring equipment;

- Households;

- Distribution System Operator (DSO).

## Specific work

- This section individually describes the specific services to be provided by the Contractor within the implementation of project “PV-ESTIA – Enhancing storage integration in buildings with Photovoltaics”.

Task 1/D4.6.3: Installation of measurement systems

| Time (duration)/ place: | Duration of the entire task is 10 months, but not later than 31.07.2019. Place of conducting the task is Skopje. | Maximum budget in Euro |
| --- | --- | --- |
| Service 1.1: | Installation | 1.000,00 |
| Service description: | A formal installation of each measurement system in the premises of 20 households in Skopje area. The Contractor will be provided with the measurement systems by the Faculty of electrical engineering and information technologies. Duration of the subtask: minimum one measurement system per day. The contractor will be timely notified about the exact date and address of the installation of each individual measurement system. Forecast period for conduct of the subtask: October 2018 in Skopje. Report should be delivered in November 2018. |  |
| Service 1.2: | Maintenance and supervision | 500,00 |
| Service description: | Maintenance and supervision of all 20 measurement systems during the lifetime of the project, but not later than 31.07.2019. Report should be delivered not later than July 2018. |  |
| Service 1.3: | Deinstallation | 500,00 |
| Service description: | A formal deinstallation of each measurement system in the premises of 20 households in Skopje area after 3 years. All measurement systems should be delivered at the premises of the Faculty of electrical engineering and information technologies. Report should be delivered not later than July 2018. |  |

Notes:

- The tenderer's financial offer should include the installation costs and all additional expenses in order to provide the required services.

- The Contractor shall take the necessary measures to ensure that all the services will be conducted complied to the positive practices of the profession.

- Through handover of the measurement systems the both sides will sign the document as a proof of the quantity and quality of the systems.

## Project management

### Responsible body

Responsible body for this service contract will be the Contracting Authority specified above.

### Management structure

### The effective management of the project will be ensured by the Contracting Authority.

The project manager, Prof. Marija Kacarska will be in charge for the overall coordination.

### Facilities to be provided by the Contracting Authority and/or other parties

The new, unused measurement equipment will be provided by the Contracting Authority along with the list of address of households.

# LOGISTICS AND TIMING

## Location

The project will be implemented at the territory of Skopje, FYROM.

## Start date & Period of implementation of tasks

The intended start date is 10.10.2018 and the period of implementation of the contract will be 10 months from this date, but not later than 31.07.2019. Please see Articles 19.1 and 19.2 of the Special Conditions for the actual start date and period of implementation.

# REQUIREMENTS

## Staff

Note that civil servants and other staff of the public administration of the partner country, or of international/regional organisations based in the country, shall only be approved to work as experts if well justified. The justification should be submitted with the tender and shall include information on the added value the expert will bring as well as proof that the expert is seconded or on personal leave.

### Key experts

Key experts are not required.

### Other experts, support staff & backstopping

The Contractor shall select and hire other experts as required according to the needs. The selection procedures used by the Contractor to select these other experts shall be transparent, and shall be based on pre-defined criteria, including professional qualifications, language skills and work experience.

The costs for backstopping and support staff, as needed, are considered to be included in the tenderer's financial offer.

## Office accommodation

Office accommodation for each expert working on the contract is to be provided by the Contractor.

## Facilities to be provided by the Contractor

The Contractor shall ensure that experts are adequately supported and equipped. In particular it must ensure that there is sufficient administrative, secretarial and interpreting provision to enable experts to concentrate on their primary responsibilities. It must also transfer funds as necessary to support their work under the contract and to ensure that its employees are paid regularly and in a timely fashion.

## Equipment

No equipment is to be purchased on behalf of the Contracting Authority / partner country as part of this service contract or transferred to the Contracting Authority / partner country at the end of this contract. Any equipment related to this contract which is to be acquired by the partner country must be purchased by means of a separate supply tender procedure.

# REPORTS

## Reporting requirements

The Contractor will submit the following reports in English language:

- Draft report shall be submitted no later than 5 days after the end of the period of implementation of each subtask according the Task table.

- Report with the same specifications as the draft report, incorporating any comments received from the parties on the draft report. The deadline for sending the final report is 5 days after receipt of comments on the draft report. This report should provide conclusions and clear evidences on the implementation of all requested services. The final report must be provided along with the corresponding invoice.

The reports provided by the Contractor should be prepared in English language and submitted in the following copies:

- 1 (one) original, duly signed, stamped and dated by the legal representative of the Contractor and

- 1 (one) electronic version.

## Submission and approval of reports

The report referred to above must be submitted to the Project Manager identified in the contract. The Project Manager is responsible for approving the reports.

# MONITORING AND EVALUATION

## Definition of indicators

The qualitative indicator of the successful implementation of the contract is “Services provided in timely, quality and quantity manner as required in these Terms of Reference”.

The following quantitative results are to be achieved:

### Indicators related to the installation of measurement of 20 systems in Skopje

- Reliable and continuous measurement data stream from each household;

- Time required to install the equipment in each household;

- Identifying possible obstacles in installation possibilities in each household;

- Proper installation of the measurement systems.

### Indicators related to the maintenance and supervision of all 20 measurement systems during the lifetime of the project in Skopje

- Number of calls by households requiring technical intervention;

- Time of acting after some problem is announced;

- Adequate solution to the arisen problems.

## Special requirements

The communication between the Contractor and the Contracting Authority must be in writing. The Contracting Authority will appoint the Project manager as a contact person for the contract (point 4.3.3. of this document).