# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Supply of  Equipment and industrial PLC controllers for implementation of real-time pressure and flow control strategies	p 1 /…

Publication reference:  CN1-S.O 2.3-SC011/4

Lot 1 – Supply of Industrial PLC controllers

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required |  | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
|  | Lot 1. Industrial PLC controllers consisted of: |  |  |  |  |
| 1. | Programmable Logic Controller – type 1 | - 24 VDC supply voltage - At least 8 digital relay outputs - At least 8 digital sink/source selectable inputs - At least one high-speed input - DIN rail mounting - At least 64k steps program capacity - Status LEDs - Integrated serial interface - Slot for memory cassettes - Integrated real time clock - Integrated positioning control - Must be Expandable for up to at least 384 inputs/outputs Maximum operating temperature of at least +50o C Warranty: minimum 1 year |  |  |  |
| 2. | Programmable Logic Controller – type 2 | - 100-240 VAC supply voltage - At least 10 digital relay outputs - At least one analog output, voltage or current selectable - At least 14 digital sink/source selectable inputs - At least one analog input, voltage or current selectable - At least one high-speed input - DIN rail mounting - At least 32k steps program capacity - Status LEDs - Integrated serial interface - Slot for memory cassettes - Integrated real time clock - Integrated positioning control - Must be Expandable for up to at least 384 inputs/outputs - Ethernet communication port Maximum operating temperature of at least +50o C Warranty: minimum 1 year |  |  |  |
| 3. | PLC Ethernet communication module | - Must support 10/100BaseT, TCP/IP, UDP, POP3, SMTP Must be compatible with controllers in items 7 and 8 Warranty: minimum 1 year |  |  |  |
| 4. | PLC Remote Terminal Unit module | - 10-384 controllable inputs and outputs - Must support cellular (at least GPRS, EDGE), Ethernet (at least 10/100 Mbps), and serial communication - Must support DNP3, IEC 60870-5-101, IEC 60870-5-104 communication protocols on either host and/or field side of configuration Must be compatible with controllers in items 1 and 2 Warranty: minimum 1 year |  |  |  |
| 5. | PLC A/D converting unit | - At least 4 channels - Must support both voltage and current inputs - Resolution of at least 16 bits Must be compatible with controllers in items 1 and 2 Warranty: minimum 1 year |  |  |  |